Microsporum spp.

| MINIMUM PERSONAL PROTECTIVE EQUIPMENT |
| --- |
| Minimum Requirements See Section 4.6 of UBM for details | Tie back hair and wear closed-toe shoes, street clothing fully covering legs, lab coat, disposable gloves. Additional requirements listed in Section 15 of your lab-specific biosafety manual must be followed. |
| Additional Precautions | If centrifuge is outside of BSC and rotors are not sealed, wait 5 minutes after centrifuge completely stops before opening centrifuge. |

| VIABILITY |
| --- |
| Disinfection | Use 10 % Bleach for 20-30 minutes, or acceptable time approved by IBC and EHS. |
| Physical inactivation | Autoclave and dispose of as Regulated Medical Waste (RMW). See waste information for disposal of solid and liquid waste. |
| Survival Outside of Host | Can survive in water, and on skin, survives on a variety of surfaces (e.g. sand, floors, showers, clothing, brushes). |

| MEDICAL-RELATED INFORMATION |
| --- |
| Prophylaxis availability | None. |
| Vaccine availability | None. |
| Medical Information | You should inform the physician of any drug resistance(s) acquired by the lab strain(s) and any sequences inserted into the lab strain(s). |
| Surveillance | Monitor for symptoms of infection (see “Health Hazards”) |
| VT Requirements | Immediately report any exposures to Occupational Health. |

| REFERENCES & SOURCES |
| --- |
| Montana State University; Biosafety Program | http://www.montana.edu/orc/biosafety/index.html |
| MSDS Online, Velocity EHS | https://www.msdsonline.com/resources/msds-resources/free-safety-data-sheet-index/epidermophyton-floccosum/ |
| BMBL; 5th Edition | http://www.cdc.gov/biosafety/publications/bmbl5/BM BL.pdf |
| CDC | https://www.cdc.gov/ |
| NIH Guidelines | https://osp.od.nih.gov/biotechnology/nih-guidelines/ |

| CONTAINMENT REQUIREMENTS and NOTES |
| --- |
| BSL-2 | All procedures must be performed in a BSC, unless otherwise approved and stated in lab-specific manual. |
| ABSL2 | For all procedures utilizing infected animals. |
| ACL2 | For all procedures utilizing infected arthropods. |
| BL2/BLN-2/BLP-2 | Follow all applicable NIH Guideline requirements. |
| RG2 | Agents that are associated with human disease which is rarely serious and for which preventive or therapeutic interventions are often available. |

| AGENT CHARACTERISTICS |
| --- |
| Morphology | Fungal genera associated with macrocanidia and rough walls. |
| Zoonosis | Yes, M. canis can be transmitted to humans from infected animals. |
| Diseases | Skin and hair infections, ringworm (Dermatophytosis and Tinea). |

| SPILL INFORMATION |
| --- |
| Small (Refer to Section 3 of the LSBM for details on clean-up) | Notify others working in the lab. If contaminated, remove PPE and don new PPE. Follow spill procedures in Section 3 of the Lab-specific Biosafety Manual. |
| Large (Refer to Section 1.8 of the UBM for details on spill clean-up) | Immediately notify all personnel in the lab and clear all personnel from the area. Remove any contaminated PPE/clothing and leave the lab. Secure the area by locking doors, posting signage and guarding the area to keep people out of the space. Call 911 or non-emergency Campus Police (231-6411) and ask to notify EHS. Inform the PI or Lab Manager/ Supervisor as soon as possible. |

| HEALTH HAZARDS |
| --- |
| Host Range | Humans and animals (domestic, farm, zoo). |
| Modes of Transmission | Exposure to infected animals, people or contaminated fomites, exposure of wound or broken skin. |
| Signs and Symptoms | Scaly, crusted rash (often ring shaped and raised), scaly skin in hair, itching, hair loss. |
| Infectious Dose | Unknown. |
| Incubation Period | Several days to a few weeks. |

| EXPOSURE INFORMATION |
| --- |
| Eyes and Mucous membranes (See Section 1.3 and 1.5 of UBM for specific details) | Eyes: Flush eyes for 5-10 minutes at eyewash station. Immediately flush membranes with plain water. Go to an appropriate healthcare provider for treatment. Inform the health care provider of the biohazardous material(s) to which you have been exposed and bring risk assessments/ SDSs. |
| Needle Sticks and open wounds (See Section 1.4 of UBM for details) | Clean and wash area thoroughly, using soap and water for a minimum of 5 minutes. If a needlestick, gently massage the area to make it bleed while washing. Go to an appropriate healthcare provider for treatment. Inform the health care provider of the biohazardous material(s) to which you have been exposed and bring risk assessments/ SDSs. |

| LABORATORY HAZARDS |
| --- |
| Laboratory Acquired Infections (LAIs) | Many cases have been reported, most commonly through exposure to infected lab animals. |
| Sources | Cultures, frozen stocks, samples (may include blood, tissue and feces). |

| WASTE INFORMATION |
| --- |
| Waste Disposal | Refer to the EHS Laboratory Waste Charts for details on disposal of biohazardous waste. |

| LAB-SPECIFIC INFORMATION: Check the response that is applicable to your lab |
| --- |
|  | I have reviewed the above information and my lab will follow all requirements as described above. |
|  | I have reviewed the above information and my lab will follow all requirements as described above with the following changes specific to my lab: |